## 1200A
CLIENT |  | PALABORA COPPER
CONTRACT NO
CONTRACT TITLE |  | PROPOSED PRIESKA-A CLINIC
SCHEDULE OF QUANTITIES
NB | TENDERERS MUST COMPLETE THE SCHEDULE OF QUANTITIES IN BLACK INK
SECTION 1200 A
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 110.00 | GENERAL
1200 A
| 110.01 | Scheduled fixed-charge and value-
related items:
PSA |  | .01 | Fixed preliminary and general charges |  | - | 1 | sum
8.3.1
PSA |  | .02 | Value-related preliminary and general
8.3.2 |  |  | charges |  | - | 1 | sum
| 110.02 | Scheduled time-related items:
PSA |  | .01 | Time-related preliminary and general
8.4.1 |  |  | charges |  | Months | 6 | 0
PSA | 110.03 | Sums stated provisionally by the
8.5.1 |  | Engineer:
|  | .01 | Works executed by the Contractor:
|  |  | .01 | Design of civil works, sump, access | - | Prov | Sum
bulkwater connection.
|  |  | .02 | Design of electrical works, | - | Prov | Sum
bulk connection, building reticulation
|  |  | .03 | Surveying | - | Prov | Sum
|  |  | .04 | Geotechnical investigation | - | Prov | Sum
1200 A | Carried forward
SECTION 1200 A
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
|  | Brought forward | [5 empty] | 0
PSA | 110.04 | Prime Cost Sums:
8.6
|  | .01 | Additional tests required by the
|  |  | Engineer |  | - | - | PC Sum
|  | .02 | Charge required by Contractor on
|  |  | subitem 110.04.01 above |  | % | 0 | 7.5%
PSA
8.10 | 110.07 | Community Liaison Officer |  |  | Months | 6 | sum
Allow for net extra cost involved in the
emloyment of a Community Liaison Officer
(CLO) in respect of the site office.
|  | .01 | Charge required by Contractor on |  | % | 0 | 7.5%
Subitem 110.07 above
PSA
8.11 | 110.08 | Compliance with OHS Act and
Regulations (including the
|  | Construction Regulations, 2014 |  |  | - | 1 | sum
PSA
8.12 | 110.09 | HIV/AIDS Awareness
|  | .01 | SANS 1921-6: HIV/AIDS Awareness read
in conjunction with the Associated
|  |  | Specification Data |  | - | 1 | sum
PSA
8.12 | 110.1 | Name board |  |  | - | 1 | sum
TOTAL SECTION 1200 A CARRIED TO SUMMARY

## 1200C
SECTION 1200 C
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 130.00 | SITE CLEARANCE
1200 C
PSC | 130.01 | Clear and grub:
8.2.1
|  | .01 | Areas: Site, access road including sewer
|  |  | sump area |  | m² | 7500
8.2.2 | 130.02 | Remove and grub large trees and tree
stumps of girth:
|  | .01 | Over 1,0 m and up to and including
|  |  | 2,0 m |  | number | 5
8.2.4 | 130.04 | Reclear surfaces (only on instructions
from Engineer):
|  | .01 | Areas |  | m² | 1000
8.2.9 | 130.10 | Transport materials and debris to
|  | unspecified site and dump |  |  | m³-km | 300 |  |  | 300
TOTAL SECTION 1200 C CARRIED TO SUMMARY

## 1200D
SECTION 1200 D
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 140.00 | EARTHWORKS
1200 D
PSD | 140.02 | Restricted excavation:
8.3.3
|  | .01 | Excavate for sewer sump area in all
materials, and use for backfill or
embankment, or dispose:
|  |  | .01 | Depth up to 3,0 m | m³ | 100
|  | .02 | Excavate for restricted foundations
(at) Main building in all materials, and
use for backfill or embankment, or
|  |  | dispose |  | m³ | 115
PSD | 140.07 | Existing services:
8.3.8
|  | .01 | Hand excavation for locating and
exposing existing services:
|  |  | .02 | In all other areas | m³ | 12
8.3.11 | 140.09 | Grassing or other vegetation cover:
|  | .01 | Hydroseeding |  | m² | 250
TOTAL SECTION 1200 D CARRIED TO SUMMARY

## 1200DB
SECTION 1200 DB
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 142.00 | EARTHWORKS (PIPE TRENCHES)
1200 DB
TRENCHES FOR WATER PIPES
PSDB | 142.01 | Excavate in all materials for trenches,
8.3.2 |  | backfill, compact and dispose of surplus
material:
|  | .01 | Pipes up to 125 mm dia for depths:
|  |  | .01 | Over 1,0 m up to 2,0 m | m³ | 72
PSDB | 142.03 | Excavate and dispose of unsuitable
8.3.2 |  | material from trench bottom |  |  | m³ | 11
PSDB | 142.04 | Excavation ancillaries:
8.3.3
|  | .01 | Make up deficiency in backfill material:
|  |  | .02 | By importation from designated
|  |  |  | borrow pits | m³ | 20
|  |  | .03 | By importation from commercial or
off-site sources selected by the
|  |  |  | Contractor | m³ | 52
8.3.6 | 142.06 | Finishing:
|  | .01 | Reinstate road surfaces complete with
all courses:
|  |  | .01 | Gravel surfacing | m³ | 5
TRENCHES FOR SEWER PIPES
PSDB | 142.11 | Excavate in all materials for trenches,
8.3.2 |  | backfill, compact and dispose of surplus
material:
|  | .01 | Pipes up to 125 mm dia for depths:
|  |  | .01 | Over 1,0 m up to 2,0 m | m | 54
PSDB | 142.25 | Excavate open drains in all materials |  |  | m³ | 4
8.3.2
1200 DB | Carried forward
SECTION 1200 DB
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
|  | Brought forward | [5 empty] | 0
TRENCHES FOR DUCTS
PSDB | 142.31 | Excavate in all materials for trenches,
8.3.2 |  | backfill, compact and dispose of surplus
material:
|  | .01 | Trenches of width less than 600 mm for
depths:
|  |  | .01 | Up to 1,0 m | m | 72
8.3.6 | 142.36 | Finishing:
|  | .01 | Reinstate road surfaces complete with
all courses:
|  |  | .01 | Gravel surfacing | m³ | 5
TOTAL SECTION 1200 DB CARRIED TO SUMMARY

## 1200DM
SECTION 1200 DM
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 147.00 | EARTHWORKS (ROADS, SUBGRADE)
1200 DM
8.3.2 | 147.01 | Preparation of Site:
|  | .01 | Removal of topsoil to a depth of
|  |  | 150 mm, and the stockpiling |  | m³ | 135 |  |  | 135
PSDM | 147.02 | Treatment of roadbed:
8.3.3
|  | .01 | Roadbed preparation and compaction
of material to:
|  |  | .01 | Minimum of 90% of modified
|  |  |  | AASHTO maximum density | m³ | 135
8.3.8 | 147.08 | Removal of oversize material |  |  | m³ | 2.7
PSDM | 147.19 | Sidewalks:
8.3.19
|  | .01 | Fill compacted to 90% of modified
AASHTO density and obtained from:
|  |  | .01 | Designated borrow pits | m³ | 20
TOTAL SECTION 1200 DM CARRIED TO SUMMARY

## 1200G
SECTION 1200 G
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 170.00 | CONCRETE (STRUCTURAL)
1200 G
SCHEDULED FORMWORK ITEMS
8.2.2 | 170.02 | Smooth:
|  | .01 | Vertical formwork to:
|  |  | .01 | Concrete slab at entrance from | m² | 10.3
ambulance area and sewer sump
|  | .02 | Horizontal formwork to:
|  |  | .01 | Concrete slab at entrance from
|  |  |  | ambulance area and sewer sump | m² | 34
SCHEDULED REINFORCEMENT ITEMS
8.3.1 | 170.08 | High-tensile welded mesh ref: 888 in the
following:
|  | .01 | Concrete slab at entrance from
|  |  | ambulance area |  | m² | 7
| 170.08 | High-tensile steel Y12 in the following
|  | .01 | Concrete slab at bottom and top of
|  |  | sewer sump |  | t | 3.19
SCHEDULED CONCRETE ITEMS
8.4.1 | 170.13 | Concrete Strength
|  | .01 | Class 25 MPa/19 mm concrete in:
|  |  | .01 | slab at entrance from ambulance | m³ | 1.3
|  |  | .02 | sewer sump slab | m³ | 14.68
PSG | 170.14 | Unformed surface finishes:
8.4.4
|  | .01 | Steel-floated finishes to:
|  |  | .01 | slab at entrance from ambulance | m² | 9
8.6 | 170.18 | Manufacture (or supply) and erect
precast elements for small units not
exceeding 0,5 m³ of formed concrete:
|  | .01 | The following types and sizes:
|  |  | .01 | concrete pillar at reception | m³ | 0.15
TOTAL SECTION 1200 G CARRIED TO SUMMARY

## 1200L
SECTION 1200 L
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 210.00 | MEDIUM-PRESSURE PIPELINES
1200 L
8.2.1 | 210.01 | Supply, lay and bed on class B
bedding, complete with couplings:
|  | .01 | uPVC class 12 pipes:
|  |  | .01 | 50mm diameter Marley or similar | m | 90
approved
|  | .02 | Mild steel, t = 10 mm:
|  |  | .01 | 15mm diameter galvanised | m | 1.5
for the sump
|  | .03 | Screwed and socketed galvanized
mild steel:
|  |  | .01 | . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | m | 5
8.2.2 | 210.11 | Extra over items 210.01 to 210.04 for the
supplying, laying, and bedding of uPVC
specials complete with couplings:
|  | .01 | 45° bends:
|  |  | .01 | 50mm diameter | number | 5
|  |  | .02 | 75mm diameter | number | 4
|  | .02 | 90° bends:
|  |  | .01 | 50mm diameter | number | 4
|  | .03 | Reducers:
|  |  | .01 | 75 mm dia x 50 mm dia | number | 1
|  | .03 | 45° elbows:
|  |  | .01 | uPVC elbow and water fitting | number | 4
|  | .04 | 90° elbows:
|  |  | .01 | 40mm diameter galvanised | number | 6
1200 L | Carried forward
SECTION 1200 L
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
|  | Brought forward | [5 empty] | 0
8.2.3 | 210.52 | Extra over items 210.01 for supplying,
fixing and bedding of flanged gate
valves:
|  | .01 | 50mm diameter |  | number | 1
8.2.3 | 210.56 | Extra over items 210.01 for supplying
fixing and bedding of pressure-reducing
valves:
|  | .01 | 50mm pressure regulator control |  | number | 1
8.2.3 | 210.58 | Extra over items 210.01 for supplying,
fixing and bedding of fire hydrants
including double flanged distance
piece between hydrant and tee:
|  | .01 | 75mm dia fire hydrant |  | number | 1
| 210.60 | Supply and place pipes in short runs:
|  | .01 | 50mm diameter |  | number | 3
PSL | 210.65 | .02 | Formwork:
8.2.11
|  |  | .01 | Rough | m² | 2
|  | .03 | Reinforcement:
|  |  | .01 | High-tensile steel | t | 0.5
PSL | 210.65 | Anchor/thrust blocks and pedestals:
8.2.11
|  | .01 | Concrete:
|  |  | .01 | Class 20 MPa/19 mm | m³ | 1
8.2.14 | 210.68 | Manholes:
|  | .01 | Type steel manhole 600x 400mm with |  | number | 3
chequer plate for sump
PSL | 210.71 | Standpipes complete:
8.2.16
|  | .01 | Type 1 |  | number | 1
PSL | 210.73 | Connection to existing main supply
8.2.18 |  | pipe |  |  | number | 1
TOTAL SECTION 1200 L CARRIED TO SUMMARY

## 1200LB
SECTION 1200 LB
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 211.00 | BEDDING (PIPES)
1200 LB
BEDDING FOR WATER PIPES
8.2.1 | 211.01 | Provision of bedding from trench
excavations:
|  | .01 | Selected granular material |  | m³ | 15
|  | .02 | Selected fill material |  | m³ | 58
BEDDING FOR SEWER PIPES
8.2.1 | 211.11 | Provision of bedding from trench
excavations:
|  | .01 | Selected granular material |  | m³ | 12.6
|  | .02 | Selected fill material |  | m³ | 50
BEDDING FOR DUCTS
8.2.1 | 211.31 | Provision of bedding from trench
excavations:
|  | .01 | Selected granular material |  | m³ | 13
|  | .02 | Selected fill material |  | m³ | 50
8.2.5 | 211.05 | Overhaul of material for bedding
cradle and selected fill blanket:
|  | .01 | Limited overhaul |  | m³ | 15
TOTAL SECTION 1200 LB CARRIED TO SUMMARY

## 1200LC
SECTION 1200 LC
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 212.00 | CABLE DUCTS
1200 LC
PSLC | 212.01 | Supply, lay, bed and prove duct:
8.2.5
|  | .01 | uPVC pipes:
|  |  | .01 | 100 mm dia | m | 75
8.2.7 | 212.03 | Draw pits/manholes:
|  | .01 | cable draw pits pre-formed holes |  | number | 2
for ducting
8.2.8 | 212.04 | Cable markers:
|  | .01 | Route markers |  | number | 2
TOTAL SECTION 1200 LC CARRIED TO SUMMARY

## 1200LD
SECTION 1200 LD
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 213.00 | SEWERS
1200 LD
8.2.1 | 213.01 | Supply, lay, joint, bed on class B
bedding and test pipeline:
|  | .01 | uPVC class 3 pipes:
|  |  | .01 | 110mm dia | m | 75
8.2.2 | 213.02 | Extra over items 213.01 for specials
|  | .01 | Fittings, coupling bends, etc |  | number | 20
TOTAL SECTION 1200 LD CARRIED TO SUMMARY

## 1200LF
SECTION 1200 LF
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 215.00 | ERF CONNECTIONS (WATER)
1200 LF
8.2.1 | 215.01 | Provide erf connections complete:
|  | .01 | Across the street from the water pipe |  | number | 1
8.2.4 | 215.04 | Supply and install meters complete
with couplings:
|  | .01 | Domestic water meter with high resolution
|  |  | interface with calibrated cartridge |  | number | 1
8.2.5 | 215.05 | Site testing of meters, when ordered |  |  | number | 1
TOTAL SECTION 1200 LF CARRIED TO SUMMARY

## 1200ME
SECTION 1200 ME
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 223.00 | SUBBASE
1200 ME
8.3.1 | 223.01 | Construct the subbase course with
material excavated in all materials
|  | from borrow pits |  |  | m³ | 135
PSME | 223.02 | Treatment of subbase with:
8.3.11
|  | .02 | Insecticide |  | m² | 2100
TOTAL SECTION 1200 ME CARRIED TO SUMMARY

## 1200MFL
SECTION 1200 MFL
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 224.00 | BASE (LIGHT PAVEMENT STRUCTURES)
1200 MFL
8.3.1 | 224.01 | Construct base with material from
commercial sources:
|  | .01 | Natural gravel |  | m³ | 135 | 220 | 29700
| TOTAL SECTION 1200 MFL CARRIED TO SUMMARY | [6 empty] | 29700

## 1200MJ
SECTION 1200 MJ
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 227.00 | SEGMENTED PAVING
1200 MJ
8.2.1 | 227.01 | Provision of edge restraints:
|  | .01 | For straight edging |  | m | 60
|  | .02 | For curved edging |  | m | 60
PSMJ | 227.02 | Construction of paving complete:
8.2.2
|  | .01 | Type S-A blocks:
|  |  | .01 | 60 mm thick including sand bedding | m² | 1200
TOTAL SECTION 1200 MJ CARRIED TO SUMMARY

## 1200MK
SECTION 1200 MK
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
SABS | 228.00 | KERBING AND CHANNELLING
1200 MK
PSMK | 228.02 | Supply and install precast concrete
8.2.1 |  | kerbing:
|  | .01 | SABS 927 fig 8:
|  |  | .01 | Radius up to 4 m | m | 74
|  |  | .02 | Radius over 4 m up to 20 m | m | 131
|  |  | .03 | Radius over 20 m and straight
|  |  |  | sections | m | 13
TOTAL SECTION 1200 MK CARRIED TO SUMMARY

## PART PA
PARTICULAR SPECIFICATION PA
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
PA 12 |  | FENCING
| PA.01 | Supply and erection of new fencing
material:
|  | .01 | Concrete palisade
|  |  | 2,4m Heavy duty fence |  | m | 513
| PA.02 | New gates:
|  | .01 | Single leaf
[5 empty] | number | 1
|  | .02 | Double leaf
|  |  | Swing motor gates |  | number | 2
TOTAL PARTICULAR SPECIFICATION PA CARRIED TO SUMMARY

## PART PD
PARTICULAR SPECIFICATION PD
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
PD 10 |  | BUILDING WORK
| PD.01 | Brickwork:
|  | .01 | 230 mm thick, non-facing plastered/
extra, NFX bricks 14 Mpa in class 2
|  |  | mortar |  | m² | 403
|  | .02 | 115 mm thick, non-facing plastered/
|  |  | extra, NFX bricks 14 Mpa in class 1 |  | m² | 75
mortar
|  | .03 | 230 mm thick, for sewer sump, non facing
|  |  | plastered |  | m² | 55
Brickwork reinforcement
|  | .01 | 150mm Wide reinforcement built in
|  |  | horizontally |  | m | 2254
|  | .02 | 75mm Wide reinforcement built in
|  |  | horizontally |  | m | 555
|  | .03 | Galvanised wire ties 4mm dia roof tie
500mm girth bent double with one end
|  |  | fixed to timber and other brickwork |  | number | 50
| PD.02 | Plaster work: for building and sump
|  | .01 | 10 mm thick, wood-float finish |  | m² | 456
|  | .02 | 10 mm thick, steel-float finish |  | m² | 150
| PD.03 | Floor screeds:
|  | .01 | 30mm Thick on floors and landings |  | m² | 328
| PD.04 | Doors and windows:
|  | .01 | Steel door frames:
|  |  | .01 | Double Hinge Door - DHDM1521/24
|  |  |  | 1490mm x 2090mm x 40mm | number | 6
|  |  | .02 | Door Frame Steel Robmeb or similar
|  |  |  | 2032 mm x 813 mm x 115 mm | number | 22
1200 PD | Carried forward
PARTICULAR SPECIFICATION PD
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
|  | Brought forward | [5 empty] | 0
| PD.04 | .02 | Damp proofing of walls and floors
(cont)
|  |  | .01 | One layer of micron 'CONSOL
|  |  |  | Plastic brik grip DPC' embossed damp | m2 | 75
|  |  | .02 | One layer of 250 micron 'CONSOL Plastic
|  |  |  | Gunplas USB Green' waterproof | m2 | 328
|  | .03 | Steel window with frame, including
glazing and sills:
|  |  | .01 | Aluminium Top Hung Window PTT249
|  |  |  | 2390mm x 890mm | number | 2
|  |  | .02 | Aluminium Top Hung Window PTT2112
|  |  |  | 2090mm x 1100mm | number | 4
|  |  | .03 | Aluminium Top Hung Window PTT618
|  |  |  | 590mm x 1790mm | number | 7
|  |  | .04 | Aluminium Top Hung Window PT126
|  |  |  | 1190mm x 590mm | number | 1
|  |  | .05 | Aluminium Top Hung Window PT66
|  |  |  | 590mm x 590mm | number | 6
| PD.05 | Structural timber:
|  | .01 | Roof trusses complete as shown on
|  |  | Drg number PMC-0000-02-10276-02 |  | m² | 598
|  | .02 | Roof covering with pitches not exceeding
|  |  | 25 degrees |  | m² | 598
| PD.06 | Ceilings:
|  | .01 | 6mm "Everite Nutec" or similar approved
fibre-cement boards with taped and
skimmed joints
|  |  | .01 | Fixed ceiling including 38 x 38mm
|  |  |  | SAP brandering at 400mm | m² | 402
|  |  | .02 | Gyproc Cove Cornice | m | 253
|  | .02 | 200-litre geyser, mounted in roof |  | Number | 1
1200 PD | Carried forward
PARTICULAR SPECIFICATION PD
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
|  | Brought forward | [5 empty] | 0
| PD.07 | Joinery:
|  | .01 | Items measured by number:
|  |  | .01 | Doors, rubber door stop plugged
|  |  |  | 38mm diameter | number | 29
|  |  | .02 | Wrought meranti doors hung to steel
|  |  |  | frames 813mm x 2032mm x 40mm | number | 22
|  |  | .03 | Stainless Steel Ball Bearing Hinge
|  |  |  | 100mm x 75 mm x 2.5mm | number | 70
|  |  | .04 | Chrome Plated 2-Lever Lockset -
|  |  |  | Pull and Twist Reversible Latch | number | 22
|  | .02 | Items measured by length:
|  |  | .01 | Skirtings 100mm x 19mm | m | 190
|  | .03 | Ironmongery
|  |  | .01 | Locks Solid blesbok D2, D3, D4 | number | 22
|  |  | .02 | 7 Lever security key | number | 7
| PD.08 | Tiling
|  |  | .01 | On floors and landings with adhesive | m² | 380
300 x 300 x 2.5mm "Ceramic tiles"
or similar approved full tiles
| PD.09 | Sanitary fittings
|  | .01 | Items measured by number:
|  |  | .01 | Betta Flair Whute Hung Basin or
|  |  |  | similar approved | number | 5
|  |  | .02 | White Front flush toilet suite or
|  |  |  | similar approved | number | 7
|  |  | .03 | Urinals supplied with top entry
|  |  |  | spreader | number | 2
|  |  | .04 | Semi-close coupled wc suite with
90 degree outlet open rim
|  |  |  | washdown paraplegic toilet | number | 1
|  |  | .05 | Adaptor pan straight 30 | number | 9
|  |  | .06 | Waste basin BR nut | number | 5
1200 PD | Carried forward
PARTICULAR SPECIFICATION PD
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
|  | Brought forward | [5 empty] | 0
|  |  | .07 | Universal P reseal flexi rubber trap | number | 1
|  |  | .08 | Mixer wall spouts | number | 6
|  |  | .09 | Pillar tap basin victory | number | 6
|  |  | .10 | Tubing copper 15mm (CT15) | m | 130
|  |  | .11 | Elbow copper F1 (D707) | number | 21
|  |  | .12 | Elbow copper 90° 15mm | number | 23
|  |  | .13 | Tee equal copper 15mm | number | 21
|  |  | .14 | Coupler copper 15mm ML | number | 31
|  |  | .15 | Masterbat 15mm (HB15) | number | 15
|  |  | .16 | Coupler copper 15mm SL | number | 12
| PD.10 | Glazing
|  | 4mm clear float glass |  |  | m2 | 55
| PD.11 | Miscellaneous work:
|  | .01 | Paintwork |  | - | -
|  | .02 | Plumbing |  | - | -
|  | .03 | Electrical work internal building reticulation |  | - | -
|  | .04 | Kitchen counter and waiting area reception |  | - | -
|  | .05 | Handrails |  | - | -
|  | .06 | Provision of enviroloo toilets (male & female) |  | number | 4
| PD.12 | Airconditioning Supply and Installation:
|  | .01 | Main entrance and reception area |  | number | 2
12000 btu
|  | .02 | Administration office 9000 btu |  | number | 1
|  | .03 | Consulting rooms 9000 btu |  | number | 2
|  | .04 | Kitchen and dine 12000 btu |  | number | 1
|  | .05 | Theater room 9000 btu |  | number | 1
|  | .06 | Recovery room 24000 btu |  | number | 1
TOTAL PARTICULAR SPECIFICATION PD CARRIED TO SUMMARY

## PART PE
PARTICULAR SPECIFICATION PE
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
PE 13 |  | CONCRETE PAVEMENTS
| PE.01 | Concrete pavement 150 mm thick
|  | of 30 Mpa strength (ambulance area) |  |  | m² | 57.4
| PE.02 | Texturing and curing of concrete
pavement:
|  | .01 | Wire-brush texturing |  | m² | 57.4
| PE.04 | Joints:
|  | .01 | Longitudinal hinge joints:
|  |  | .01 | Sawn hinge joints (sealed) | m | 10
|  | .02 | Transverse contraction joints:
|  |  | .02 | Sawn contraction joints (sealed)
completed in two separate
|  |  |  | operations | m | 5
SABS | PE.08 | Scheduled reinforcement items:
1200 G
8.3.1 |  | .01 | High-tensile welded mesh, ref no 245 |  | m² | 57.4
TOTAL PARTICULAR SPECIFICATION PE CARRIED TO SUMMARY

## PART PJ
PARTICULAR SPECIFICATION PJ
PAYMENT
REFERS | ITEM |  |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  |  | TITY
PJ 03 |  | SUBMERSIBLE PUMPING EQUIPMENT
| PJ.01 | Supply and delivery of submersible
borehole pumps:
|  | .01 | Domestic water supply stainless steel |  | number | 1
adaptor or similar approved
| PJ.02 | Installation of submersible borehole
pumps:
|  | .01 | and water testing from the laboratory |  | number | 1
| PJ.03 | Supply, delivery and installation of
rising pipe PVC, polypipe, fibreglass
|  | or steel alternatives. |  |  | m | 50
| PJ.04 | Installation and connection of a tank
|  | of 5250 L. |  |  | number | 1
| PJ05 | Supply, delivery and installation of |  |  | number | 1
lockable manhole and water meter
installation bulk
TOTAL PARTICULAR SPECIFICATION PJ CARRIED TO SUMMARY

## PART PM
PARTICULAR SPECIFICATION PM
PAYMENT
REFERS | ITEM |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  | TITY
PM 04 |  | OPERATION AND MAINTENANCE
MANUALS
| PM.01 | Compilation and supply of Operation and
|  | Maintenance Manuals |  | - | lump | sum
TOTAL PARTICULAR SPECIFICATION PM CARRIED TO SUMMARY

## PART PS
PARTICULAR SPECIFICATION PS
PAYMENT
REFERS | ITEM |  | DESCRIPTION | UNIT | QUAN- | RATE | AMOUNT
TO | NO |  |  |  | TITY
PS 07 |  | ELECTRICAL INSTALLATION
| PS.01 | Supply, delivery, installation and
|  | commissioning of LV cables |  | m | 90
| PS.02 | Supply, delivery, installation and
commissioning of lighting and small
|  | power installation (Luminaires etc) |  | - | lump
| PS.03 | Testing and commissioning of
|  | complete system |  | - | lump
| PS.04 | Supply and delivery of final Drawings
and Operation and Maintenance
|  | Manuals |  | - | lump
| PS.05 | Municipal/Eskom connection |  | - | lump
| PS,06 | Supply & deliver all electrical schedule |  |  | lump
of fittings
TOTAL PARTICULAR SPECIFICATION PS CARRIED TO SUMMARY

## SABS-SUM
CLIENT |  | PALABORA COPPER
CONTRACT NO
CONTRACT TITLE |  | PROPOSED PRIESKA-A CLINIC
SUMMARY OF SCHEDULE OF QUANTITIES
SABS 1200 A | : | GENERAL . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 C | : | SITE CLEARANCE . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 D | : | EARTHWORKS . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 DB | : | EARTHWORKS (PIPE TRENCHES) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 DM | : | EARTHWORKS (ROADS, SUBGRADE) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 G | : | CONCRETE (STRUCTURAL) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 L | : | MEDIUM-PRESSURE PIPELINES. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 LB | : | BEDDING (PIPES) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 LC | : | CABLE DUCTS . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 LD | : | SEWERS . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 LF | : | ERF CONNECTIONS (WATER) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 ME | : | SUBBASE . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 MFL | : | BASE (LIGHT PAVEMENT STRUCTURES). . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 MJ | : | SEGMENTED PAVING . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
SABS 1200 MK | : | KERBING AND CHANNELLING . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . | R
PARTICULAR SPECIFICATION PA: FENCING . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
PARTICULAR SPECIFICATION PD: BUILDING WORK . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
PARTICULAR SPECIFICATION PE: CONCRETE PAVEMENTS . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
PARTICULAR SPECIFICATION PJ: SUBMERSIBLE PUMPING EQUIPMENT . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
PARTICULAR SPECIFICATION PM: OPERATION AND MAINTENANCE MANUALS . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
PARTICULAR SPECIFICATION PS: ELECTRICAL INSTALLATION . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
TOTAL OF SCHEDULE OF QUANTITIES |  |  | R
CALCULATION OF TENDER SUM
TOTAL OF SCHEDULE OF QUANTITIES . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
CONTINGENCIES
The Sum provided here is under the sole control of the Engineer and may be
deducted in whole or in part . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
SUBTOTAL . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
VALUE-ADDED TAX (VAT)
The tenderer shall add 15% of the subtotal for value-added tax . . . . . . . . . . . . . . . . . . . . . . . . . |  |  | R
TENDER SUM CARRIED TO FORM OF TENDER |  |  | R | 0
SIGNED ON BEHALF OF TENDERER : . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .